## Slide 1: SYMMETRICAL COMPONENTS AND UNBALANCED FAULTS
Chapter -10
Power System Analysis by
Hadi Saadat

## Slide 2
Same phase sequences also draw for voltages
Here c represent as a phase or phase c
1 used for
positive sequence

## Slide 3
Counter clock

## Slide 4
Minor difference between positive and negative is sequence is that it changes two phases

## Slide 6
Ib power 1 is a 2 rotation of a to reach at b

## Slide 7
J operator is just rotation of 90 degrees.
A operator is a rotation of 120 degrees

## Slide 9
unbalance

## Slide 10
Through this formula you can find phase components
Through this formula
you can find sequence
components

## Slide 12
Similarly, we calculate voltages

## Slide 14: Example 11.1 (From Stevension Book)
One conductor of a three-phase line is open. The current flowing to the -connected load through line a is 10A. With the current in line a as a reference and assuming that line c is open, find the symmetrical components of the line currents.

## Slide 15: SOLUTION

## Slide 19
, because due to equation (10.5)

## Slide 20
, because due to equation (10.5)

## Slide 21
We can observe that magnitude and angles are same, so now system is converted into Balance System----- Answer

## Slide 22: EXAMPLE 8.1 Calculate the sequence components of the following balanced line-to-neutral voltages with abc sequence

## Slide 23: EXAMPLE 8.2 A Y-connected load has balanced currents with abc sequence given by
Calculate the sequence currents (, , )

## Slide 24: SOLUTION
Calculate the sequence currents (, , )

## Slide 28
This example illustrates the fact that balanced three-phase systems with acb sequence (or negative sequence) have no zero-sequence or positive-sequence components. For this example the negative-sequence current I2 equals Ia, and the zero-sequence and positive-sequence currents are both zero.

## Slide 30
Mutual Induction or mutual coupling such as Transformer or Transmission Line cases
So we take voltage with a reference in this case we used ground as a reference
Self impedance coupling

## Slide 32
(

## Slide 33
(
Convert these equations into matrix forms
Write in Compact form

## Slide 34
Convert these equations into matrix forms
Now convert equation (10.26) of each phasor domain vector into corresponding symmetrical components.

## Slide 35
Multiply A-1 on both sides with equation (10.28)
(10.30)

## Slide 36
Put values in equation (10.30)
Observed principal diagonal available and off diagonal all are zeros
If not mutual coupling between them, then Zm = 0